Northern Border Regional Commission

Project Specific Non-Availability Waiver

Build America Buy America Product Partial Waiver: Fire Alarm System and Fire Sprinkler System

- Summary

Agency: Northern Border Regional Commission (NBRC)

Common Governmentwide Accounting Classification (CGAC):

NBRC: 573

Waiver: NBRC is proposing to issue a project-specific nonavailability waiver of the manufactured product requirements of Section 70914 of the Build America, Buy America Act (BABA) included in the Infrastructure Investment and Jobs Act (Pub. L. 117- 58) for Theatre UP. This limited non-availability waiver would allow the recipient to purchase and use non-compliant fire alarm and sprinkler systems.

Applicability: This waiver action permits the use of a domestically manufactured but non-BABA compliant fire alarm and fire sprinkler system. This product will be obtained by Theatre UP for renovations to their building in Littleton, New Hampshire, and incorporated into the subject project, prior to the expiration date of the waiver.

Waiver Type: Nonavailability waiver of the BABA manufactured product requirements for fire alarm and sprinkler systems.

Summary of Items Covered in Waiver: fire alarm system and fire sprinkler system.

Waiver Justification Summary: Fully BABA-compliant fire alarm and sprinkler systems that meet the project’s design specifications were not identified based on market research conducted by the grantee and NBRC, including through public comment.

Length of the Waiver: This waiver will be in effect upon approval and will remain in effect until September 30, 2027 the estimated remainder of the project’s construction schedule.

- Background

The Buy America Preference set forth in section 70914 of the Build America, Buy America Act included in the Infrastructure Investment and Jobs Act (Pub. L. No. 117-58), requires all iron, steel, manufactured products, and construction materials used for infrastructure projects under Federal financial assistance awards be produced in the United States.

Under section 70914(b), the Agency may waive the application of the Buy America Preference, in any case in which it finds that: applying the domestic content procurement preference would be inconsistent with the public interest; types of iron, steel, manufactured products, or construction materials are not produced in the United States in sufficient and reasonably available quantities or of a satisfactory quality; or the inclusion of iron, steel, manufactured products, or construction materials produced in the United States will increase the cost of the overall project by more than 25%. All waivers must have a written explanation for the proposed determination; provide a period of not less than 15 days for public comment on the waiver; and submit the waiver to the Office of Management and Budget Made in America Office for review to determine if the waiver is consistent with policy.

- Description of Award

Title of Project: Theatre UP

Infrastructure Project Description and Location: The project is located in Littleton, NH. They are intending to renovate an existing building. Additions include egress stairs and an elevator. Renovations include new electrical service and distribution along with a new HVAC system, new fire alarm system and fire sprinkler system.

Description of Project: Theatre UP is preparing to build a cultural arts center in Littleton, NH. The first project is the rehabilitation and adaptive re-use of a historic building that has been underutilized on Main Street for a number of years. The second is a redevelopment infill project on a downtown property on the Ammonoosuc River and will house a multipurpose space, to be used for theater and community events. The properties sit within 420 feet of each other and in central downtown Littleton, offering easy access to patrons, partners, and members. This project will provide a multitude of opportunities for community members, educational organizations, students, local and visiting artists, tourists, area businesses, and our patrons, as well as support the local economy by drawing visitors and local & industry partners.

Recipient Name: Theatre UP

Unique Entity Identifier: QAMTGDCEMXF3

Federal Award Identification Number (FAIN)

NBRC: FAIN23GNH10

Federal Financial Assistance Listing Number and Name:

NBRC: 90.601 Northern Border Regional Development

Federal Financial Assistance Funding Amount:

NBRC award amount: $1,000,000.00

Total Cost of Infrastructure Expenditure

$2,815,766.00

- Description of Covered Items

Manufactured Products: The waiver seeks an exception to the Buy America requirements for the following manufactured products:

- Fire alarm system

  - NAICS: 334290

  - PSC: 6350

- Fire sprinkler system

  - NAICS: 238220

  - PSC: 4210

- Waiver Justification Summary

Anticipated Impact if No Waiver is Issued: Absent a waiver issued, the recipient would be unable to move forward with project as alternative systems do not meet the code requirements to receive a certificate of occupancy.

Description of Efforts Made to Identify Domestic Products: Only a system certified and approved by the Underwriters laboratory will receive a certificate of occupancy from the Authority Having Jurisdiction (“AHJ”). The certification will have a list of the products that were tested and approved for that system, and only those products can be used in a system. Project specifications and the adopted building and life safety codes require the building be equipped with National Fire Protection Association (NFPA) 72 compliant systems.

Specifically, per NFPA 13 2019 9.4.3.1, new light hazard occupancies shall be quick-response sprinklers; and according to sprinkler manufactures there are no quick-response sprinklers that comply with BABAA requirements.

Per NFPA 13 2019 7.1.1.2 “all materials and devices essential to successful system operation shall be listed” and per specification “fire protection system materials and components shall be Underwriter’s Laboratories listed and labeled.” There are no listed products that meet these requirements that also comply with BABA. The use of any other non-listed products will result in an uncertified system, and the AHJ will not issue a certificate of occupancy. In short, the use of listed devices is mandatory, and the use of any other device will result in a noncompliant fire alarm system and a building that cannot be occupied.

Research was conducted starting in the fall of 2025 and throughout the year by the grantee and Engineering Services of Vermont, LLC. Multiple manufacturers were contacted including Notifier by Honeywell, John Carter Sprinkler System, Reliable, and Victaulic. A fire protection specialist in New England was also contacted. The research identified domestically manufactured fire alarm and fire sprinklers systems that include domestic and foreign components and the cost of domestic components does not meet the domestic content requirement of the BABA manufactured product standard.

In addition, NBRC’s outreach included their own internet searches which did not yield a manufacturer that could meet the BABA requirements.

Assessment of Cost Advantage of a Foreign-Sourced Product: Under OMB M–24–02, agencies are expected to assess ‘‘whether a significant portion of any cost advantage of a foreign-sourced product is the result of the use of dumped steel, iron, or manufactured products or the use of injuriously subsidized steel, iron, or manufactured products’’ as appropriate before granting a nonavailability waiver. NBRC’s analysis has concluded that this assessment is not applicable to this waiver as this waiver is not based on the cost of foreign-sourced products.

Solicitation for Comments: The waiver was posted for fifteen days on NBRC’s public facing webpage and the Made in America website to satisfy the requirement to publish any Build America, Buy America Act Project Waiver and provide the public with the opportunity to submit comments. No comments were received.